## S2_corrected
instrument | test | qc_material_role | qc_lot | qc_mean | unit | cv_pct | reagent_lot | iqc_level_original
Cobas T-511-1 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 712753 | 113.81 | mg/dL | 3.56 |  | 1
Cobas T-511-2 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 712753 | 114.57 | mg/dL | 3.77 |  | 2
Cobas T-711-1 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 712753 | 112.41 | mg/dL | 3.87 |  | 2
Cobas T-711-2 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 712753 | 113.13 | mg/dL | 6.12 |  | 1
Cobas T-511-1 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 733200 | 114.65 | mg/dL | 3.31 |  | 1
Cobas T-511-2 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 733200 | 114.03 | mg/dL | 3.09 |  | 2
Cobas T-711-1 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 733200 | 113.73 | mg/dL | 2.96 |  | 2
Cobas T-711-2 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 733200 | 108.6 | mg/dL | 4.85 |  | 1
Cobas T-511-1 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 748268 | 107.56 | mg/dL | 3.85 |  | 1
Cobas T-511-2 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 748268 | 109.87 | mg/dL | 3.49 |  | 2
Cobas T-711-1 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 748268 | 106.74 | mg/dL | 3.63 |  | 2
Cobas T-711-2 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 748268 | 106.41 | mg/dL | 4.07 |  | 1
Cobas T-511-1 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 790736 | 102.53 | mg/dL | 3.36 |  | 1
Cobas T-511-2 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 790736 | 104.41 | mg/dL | 2.86 |  | 2
Cobas T-711-1 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 790736 | 104.46 | mg/dL | 2.97 |  | 2
Cobas T-711-2 | Fibrinogen | Abnormal-level QC (low fibrinogen) | 790736 | 103.19 | mg/dL | 4.09 |  | 1
Cobas T-511-1 | Fibrinogen | Normal-level QC | 707502 | 256.6 | mg/dL | 4.98 |  | 2
Cobas T-511-2 | Fibrinogen | Normal-level QC | 707502 | 256.91 | mg/dL | 5.56 |  | 1
Cobas T-711-1 | Fibrinogen | Normal-level QC | 707502 | 254.81 | mg/dL | 5.47 |  | 1
Cobas T-711-2 | Fibrinogen | Normal-level QC | 707502 | 258.19 | mg/dL | 5.9 |  | 2
Cobas T-511-1 | Fibrinogen | Normal-level QC | 726238 | 279.21 | mg/dL | 4.48 |  | 2
Cobas T-511-2 | Fibrinogen | Normal-level QC | 726238 | 279.23 | mg/dL | 4.09 |  | 1
Cobas T-711-1 | Fibrinogen | Normal-level QC | 726238 | 279.55 | mg/dL | 4.22 |  | 1
Cobas T-711-2 | Fibrinogen | Normal-level QC | 726238 | 277.54 | mg/dL | 4.26 |  | 2
Cobas T-511-1 | Fibrinogen | Normal-level QC | 752451 | 258.75 | mg/dL | 5.24 |  | 2
Cobas T-511-2 | Fibrinogen | Normal-level QC | 752451 | 257.19 | mg/dL | 4.99 |  | 1
Cobas T-711-1 | Fibrinogen | Normal-level QC | 752451 | 258.35 | mg/dL | 5.51 |  | 1
Cobas T-711-2 | Fibrinogen | Normal-level QC | 752451 | 258.12 | mg/dL | 5.04 |  | 2
Cobas T-511-1 | Fibrinogen | Normal-level QC | 797854 | 246.5 | mg/dL | 5.78 |  | 2
Cobas T-511-2 | Fibrinogen | Normal-level QC | 797854 | 248.65 | mg/dL | 5.41 |  | 1
Cobas T-711-1 | Fibrinogen | Normal-level QC | 797854 | 246.87 | mg/dL | 5.42 |  | 1
Cobas T-711-2 | Fibrinogen | Normal-level QC | 797854 | 244.3 | mg/dL | 4.97 |  | 2
Cobas T-511-1 | Fibrinogen | Normal-level QC | 823308 | 247.55 | mg/dL | 5.45 |  | 2
Cobas T-511-2 | Fibrinogen | Normal-level QC | 823308 | 249.11 | mg/dL | 5.25 |  | 1
Cobas T-711-1 | Fibrinogen | Normal-level QC | 823308 | 250.56 | mg/dL | 5.03 |  | 1
Cobas T-711-2 | Fibrinogen | Normal-level QC | 823308 | 246.98 | mg/dL | 4.98 |  | 2
Cobas T-711-2 | PT | Abnormal-level QC | 670060 | 27.62 | s | 1.94 |  | 2
Cobas T-511-1 | PT | Abnormal-level QC | 707513 | 28.33 | s | 3.56 |  | 2
Cobas T-511-2 | PT | Abnormal-level QC | 707513 | 28.92 | s | 2.22 |  | 2
Cobas T-711-2 | PT | Abnormal-level QC | 707513 | 28.32 | s | 3.89 |  | 2
Cobas T-511-1 | PT | Abnormal-level QC | 726229 | 28.53 | s | 3.35 |  | 2
Cobas T-511-2 | PT | Abnormal-level QC | 726229 | 28.72 | s | 3.52 |  | 2
Cobas T-711-2 | PT | Abnormal-level QC | 726229 | 28.39 | s | 3.73 |  | 2
Cobas T-511-1 | PT | Abnormal-level QC | 752458 | 28.24 | s | 4.3 |  | 2
Cobas T-511-2 | PT | Abnormal-level QC | 752458 | 28.49 | s | 4.3 |  | 2
Cobas T-711-1 | PT | Abnormal-level QC | 752458 | 27.94 | s | 5.58 |  | 2
Cobas T-711-2 | PT | Abnormal-level QC | 752458 | 28.34 | s | 4.38 |  | 2
Cobas T-511-1 | PT | Abnormal-level QC | 773132 | 28.22 | s | 4.79 |  | 2
Cobas T-511-2 | PT | Abnormal-level QC | 773132 | 28.62 | s | 4.6 |  | 2
Cobas T-711-1 | PT | Abnormal-level QC | 773132 | 28.4 | s | 4.64 |  | 2
Cobas T-711-2 | PT | Abnormal-level QC | 773132 | 28.3 | s | 4.7 |  | 2
Cobas T-511-1 | PT | Abnormal-level QC | 797868 | 27.78 | s | 3.34 |  | 2
Cobas T-511-2 | PT | Abnormal-level QC | 797868 | 27.8 | s | 4.08 |  | 2
Cobas T-711-1 | PT | Abnormal-level QC | 797868 | 27.72 | s | 3.3 |  | 2
Cobas T-711-2 | PT | Abnormal-level QC | 797868 | 27.88 | s | 2.82 |  | 2
Cobas T-511-1 | PT | Abnormal-level QC | 822377 | 28.26 | s | 4.22 |  | 2
Cobas T-511-2 | PT | Abnormal-level QC | 822377 | 28.63 | s | 4.25 |  | 2
Cobas T-711-1 | PT | Abnormal-level QC | 822377 | 28.22 | s | 4.17 |  | 2
Cobas T-711-2 | PT | Abnormal-level QC | 822377 | 28.2 | s | 4.24 |  | 2
Cobas T-511-1 | PT | Normal-level QC | 707502 | 9.87 | s | 3.15 |  | 1
Cobas T-511-2 | PT | Normal-level QC | 707502 | 9.82 | s | 2.98 |  | 1
Cobas T-711-2 | PT | Normal-level QC | 707502 | 9.67 | s | 4.17 |  | 1
Cobas T-511-1 | PT | Normal-level QC | 726238 | 10.28 | s | 2.26 |  | 1
Cobas T-511-2 | PT | Normal-level QC | 726238 | 9.38 | s | 3.56 |  | 1
Cobas T-711-2 | PT | Normal-level QC | 726238 | 9.26 | s | 3.25 |  | 1
Cobas T-511-1 | PT | Normal-level QC | 752451 | 9.96 | s | 3.28 |  | 1
Cobas T-511-2 | PT | Normal-level QC | 752451 | 9.99 | s | 3.22 |  | 1
Cobas T-711-1 | PT | Normal-level QC | 752451 | 9.72 | s | 4.01 |  | 1
Cobas T-711-2 | PT | Normal-level QC | 752451 | 9.77 | s | 3.84 |  | 1
Cobas T-511-1 | PT | Normal-level QC | 797854 | 9.67 | s | 4.49 |  | 1
Cobas T-511-2 | PT | Normal-level QC | 797854 | 9.95 | s | 3.73 |  | 1
Cobas T-711-1 | PT | Normal-level QC | 797854 | 9.75 | s | 4.2 |  | 1
Cobas T-711-2 | PT | Normal-level QC | 797854 | 9.79 | s | 4.02 |  | 1
Cobas T-511-2 | PT | Normal-level QC | 823308 | 9.73 | s | 4.57 |  | 1
Cobas T-711-1 | PT | Normal-level QC | 823308 | 9.58 | s | 4.91 |  | 1
Cobas T-711-2 | PT | Normal-level QC | 823308 | 9.52 | s | 4.83 |  | 1
Cobas T-511-1 | aPTT | Abnormal-level QC | 670060 | 51.1 | s | 1.89 |  | 2
Cobas T-711-1 | aPTT | Abnormal-level QC | 670060 | 51.48 | s | 2.3 |  | 2
Cobas T-711-2 | aPTT | Abnormal-level QC | 670060 | 51.39 | s | 2.78 |  | 2
Cobas T-511-1 | aPTT | Abnormal-level QC | 707513 | 52.42 | s | 2.15 |  | 2
Cobas T-511-2 | aPTT | Abnormal-level QC | 707513 | 52.03 | s | 1.64 |  | 2
Cobas T-711-1 | aPTT | Abnormal-level QC | 707513 | 52.48 | s | 2.23 |  | 2
Cobas T-711-2 | aPTT | Abnormal-level QC | 707513 | 52.61 | s | 2.05 |  | 2
Cobas T-511-1 | aPTT | Abnormal-level QC | 726229 | 51.22 | s | 2.6 |  | 2
Cobas T-511-2 | aPTT | Abnormal-level QC | 726229 | 50.97 | s | 2.43 |  | 2
Cobas T-711-1 | aPTT | Abnormal-level QC | 726229 | 50.94 | s | 2.68 |  | 2
Cobas T-711-2 | aPTT | Abnormal-level QC | 726229 | 51.32 | s | 2.86 |  | 2
Cobas T-511-1 | aPTT | Abnormal-level QC | 752458 | 50.64 | s | 2.82 |  | 2
Cobas T-511-2 | aPTT | Abnormal-level QC | 752458 | 50.4 | s | 2.91 |  | 2
Cobas T-711-1 | aPTT | Abnormal-level QC | 752458 | 50.42 | s | 2.85 |  | 2
Cobas T-711-2 | aPTT | Abnormal-level QC | 752458 | 50.5 | s | 2.91 |  | 2
Cobas T-511-1 | aPTT | Abnormal-level QC | 773132 | 52.05 | s | 3.36 |  | 2
Cobas T-511-2 | aPTT | Abnormal-level QC | 773132 | 51.71 | s | 3.39 |  | 2
Cobas T-711-1 | aPTT | Abnormal-level QC | 773132 | 51.9 | s | 2.93 |  | 2
Cobas T-711-2 | aPTT | Abnormal-level QC | 773132 | 51.69 | s | 3.38 |  | 2
Cobas T-511-1 | aPTT | Abnormal-level QC | 797868 | 51.32 | s | 4.5 |  | 2
Cobas T-511-2 | aPTT | Abnormal-level QC | 797868 | 50.81 | s | 4.12 |  | 2
Cobas T-711-1 | aPTT | Abnormal-level QC | 797868 | 51.63 | s | 4.33 |  | 2
Cobas T-711-2 | aPTT | Abnormal-level QC | 797868 | 51.16 | s | 4.11 |  | 2
Cobas T-511-1 | aPTT | Abnormal-level QC | 822377 | 52.56 | s | 3.29 |  | 2
Cobas T-511-2 | aPTT | Abnormal-level QC | 822377 | 52.55 | s | 3.19 |  | 2
Cobas T-711-1 | aPTT | Abnormal-level QC | 822377 | 53.11 | s | 3.09 |  | 2
Cobas T-711-2 | aPTT | Abnormal-level QC | 822377 | 52.24 | s | 4.08 |  | 2
Cobas T-511-1 | aPTT | Normal-level QC | 707502 | 29.61 | s | 2.79 |  | 1
Cobas T-511-2 | aPTT | Normal-level QC | 707502 | 29.47 | s | 1.65 |  | 1
Cobas T-711-1 | aPTT | Normal-level QC | 707502 | 29.55 | s | 2.59 |  | 1
Cobas T-711-2 | aPTT | Normal-level QC | 707502 | 29.45 | s | 2.83 |  | 1
Cobas T-511-1 | aPTT | Normal-level QC | 726238 | 28.75 | s | 2.81 |  | 1
Cobas T-511-2 | aPTT | Normal-level QC | 726238 | 28.53 | s | 2.81 |  | 1
Cobas T-711-1 | aPTT | Normal-level QC | 726238 | 28.41 | s | 3.1 |  | 1
Cobas T-711-2 | aPTT | Normal-level QC | 726238 | 28.22 | s | 3.12 |  | 1
Cobas T-511-1 | aPTT | Normal-level QC | 752451 | 29.57 | s | 2.75 |  | 1
Cobas T-511-2 | aPTT | Normal-level QC | 752451 | 29.55 | s | 2.81 |  | 1
Cobas T-711-1 | aPTT | Normal-level QC | 752451 | 29.36 | s | 2.5 |  | 1
Cobas T-711-2 | aPTT | Normal-level QC | 752451 | 29.15 | s | 2.7 |  | 1
Cobas T-511-1 | aPTT | Normal-level QC | 797854 | 30.24 | s | 3.19 |  | 1
Cobas T-511-2 | aPTT | Normal-level QC | 797854 | 30.27 | s | 3.48 |  | 1
Cobas T-711-1 | aPTT | Normal-level QC | 797854 | 30.24 | s | 3.27 |  | 1
Cobas T-711-2 | aPTT | Normal-level QC | 797854 | 29.9 | s | 3.46 |  | 1
Cobas T-511-1 | aPTT | Normal-level QC | 823308 | 28.55 | s | 2.84 |  | 1
Cobas T-511-2 | aPTT | Normal-level QC | 823308 | 28.65 | s | 2.71 |  | 1
Cobas T-711-1 | aPTT | Normal-level QC | 823308 | 28.57 | s | 2.84 |  | 1
Cobas T-711-2 | aPTT | Normal-level QC | 823308 | 28.27 | s | 3.12 |  | 1

## Notes
note
Corrected structure for Supplementary Table S2 (reviewer 2, comment 7).
qc_material_role replaces the instrument-assigned 'IQC level 1/2' labels, which were inconsistent across instruments for the same control material lot (e.g. fibrinogen lot 712753, mean ~113 mg/dL, was labeled level 2 on Cobas T-711-1 / T-511-2 but level 1 on T-711-2 / T-511-1).
Roles are assigned from the observed target mean of the material, identically on all instruments: PT <15 s = normal-level; aPTT <40 s = normal-level; fibrinogen >180 mg/dL = normal-level, <=180 mg/dL = abnormal (low) level.
The lot numbers in the original table are QC CONTROL MATERIAL lots (the same lot number recurs across PT, aPTT and fibrinogen for the normal-level material, consistent with a multi-analyte control), not reagent lots.
reagent_lot column is intentionally EMPTY: reagent lot numbers must be added by the authors from laboratory records; they are not present in the source data and must not be invented.
Fibrinogen QC means are reported in mg/dL by the QC program, whereas patient results in the manuscript are in g/L (113 mg/dL = 1.13 g/L). The unit column makes this explicit.
iqc_level_original preserves the as-shipped level label for traceability; it should be dropped from the published table.
No qc_mean or CV% value was changed; rows were only re-labeled and re-ordered.